## Slide 1: Lecture 4/5: Detecting faulty sensor data from power system measurements
S. Bose
Electrical and Computer Engineering
University of Illinois at Urbana Champaign
ECE 365: Data Science and Engineering
Fall 2020.

## Slide 2: Modern power system in the US
>7,300 power plants, ∼160,000 miles of HV transmission lines.
Three main interconnections: Eastern, Western, ERCOT.
Sensors provide measurements from which we can deduce the state of a power system.

## Slide 3: Phasor Measurement Units (PMUs)
Utilize sensor data for estimation that is used in other operational steps.
Goal of Lab 2: Are the sensors consistent with the physics of the power system?

## Slide 4: Physics of the power system: Power flow equations
G
G
G
G
G

## Slide 5: Power flow equations
Voltage phasors: Complex number representation of the sinusoidal voltage signal.
Current phasor:
Why is current sinusoidal? If all voltages are sinusoidal, and the transmission lines are composed of linear elements (resistance, inductance, capacitance), then currents become sinusoidal.

## Slide 6: Power flow equations
The linear elements of the transmission line are succinctly represented by a complex number–the impedance Z.
Similar to Ohm’s law… for AC circuits.
Q. Is there an analog for power?

## Slide 7: Power flow equations
Apparent power flowing from bus 1 to bus 2 is
* stands for complex conjugate.
Real power flow
Average power flow over a cycle.
Reactive power flow
Interpretation?

## Slide 8: Power flow equations
Apparent power flowing from bus 1 to bus 2 is
* stands for complex conjugate.
Observation. Given voltage phasors and the impedance, the real and reactive power flows can be computed.
Q. Is ?

## Slide 9: Simplified power flow equations

## Slide 10: Reactive power flow
Reactive power disappears!

## Slide 11: A 3-bus power system
If we measure , notice that it should
satisfy the following equation:
Measurements are always noisy.
You expect the result to hold approximately.

## Slide 12: Model v/s data driven approaches to detection of bad data
Model driven approach:
Given impedance, check whether data satisfies the power flow equations.
Data driven approach:
Without impedance, can you use supervised learning to check consistency?... Your lab 2.
…what are the pros and cons of each paradigm?

## Slide 13: Deliberate v/s random faults
One can detect if power sensor data is bad if this equation is not satisfied. If two sensors are at fault, then, chances are this equation becomes even more difficult to satisfy.
However, if this is a malicious data-integrity attack, then one can spoof such a detector by manipulating the data from two sensors.
Q. Can you create an example?

## Slide 14: Relevance to current research
With a model for the power system, you can ask what constitutes a physically meaningful power flow. Can you do it in a model-free way through machine learning? In other words, can you train an algorithm to somehow deduce what “meaningful” is.

## Slide 15: DOE’s recent funding opportunity
Why do we care about model-free approaches?
Portions of network data may be considered sensitive information.
Network model may not accurately reflect current reality.